## Slide 2: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 3: Introduction Purpose
“Identify, benchmark, provide guidelines for and couple the existing wake models that can operate over wind farm scale and cluster scale.”

## Slide 4: Introduction The “big wake” picture
http://www.renewbl.com
http://www.offshore-power.net
Cluster scale
wake model (T1.2)
Wind farm scale
wake model (T1.1)
Wind farm scale
wake model (T1.1)
Coupling (T1.3)
Coupling (T1.3)
Wake info
WP3
Wind
Upstream WF
Target WF

## Slide 5: Workstreams
Jan.
2012
Mar.
2013
Jan.
2013
Jun.
2012
June
2013
D1.3
Wind farm wake models Benchmarked
D1.4
Cluster wake models
Benchmarked
D1.2
Coupled models Benchmarked
Benchmark
Identification
Guidelines
Benchmark
Identification
Guidelines
Benchmark
T1.1
T1.2
T1.3
D1.1: Data for coupled models
WP5
DX:Other offshore wind farm challenges
T1.4

## Slide 6: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 7: Task 1.1: Wind Farm Scale
Partners: IU, Risoe DTU, UPORTO, CRES, ECN, CENER, RES, Hexicon, BARD
Objective: Identify wake model performance of existing engineering and CFD models.
Advance in providing a wider range of observations with quantitative performance metrics
Addition of turbulence and stability parameters
Metrics include: wake width, wake depth, power production by row and by wind farm, momentum losses through the wind speed profile.
Mean and dynamic cases

## Slide 8: Task 1.1: Wind Farm Scale
WP1.1.1. Identify wake model performance of existing engineering and CFD models.
Identify models taking part
Identify ‘Standard cases’: Fixed wind speed/direction
Identify ‘Dynamic cases’. From time series e.g. at Horns Rev
Role of additional turbulence, stability parameters
Define additional metrics for assessing model ‘skill’
Work in conjunction with IEA Wakebench

## Slide 9: Task 1.1: Wind Farm Scale
Identified Wake Models 1/2
Engineering models:
  NO Jensen + Frandsen (DTU-WAsP/Park)
  Ainslie (RES)
  DWM, RDWM (DTU)
Linearized / Parabolized CFD models:
  Fuga (DTU)
  FarmFlow (ECN)

## Slide 10: Task 1.1: Wind Farm Scale
Identified Wake Models 2/2
Nonlinear CFD models:
  ECNS: LES AD/AL (ECN)
  CRES-flowNS: RANS AD (CRES)
  CRES-farm: flowNS + engineering model (CRES)
  CFDWake: OpenFoam RANS AD (CENER)
  EllipSys: LES & RANS AD/AL (DTU)
  VENTOS: RANS AD RANS (UPORTO)

## Slide 11: Task 1.1: Wind Farm Scale
Timetable
Feb 2012 Identify models
May 2012 Make available data for Round one cases (w. Wakebench)
Jun 2012 Deadline: Compile results from Round one Cases
Sep 2012 Results Round One Cases
Nov 2012 Definition & Data Round Two Cases
Mar 2013 Deadline: Round Two Cases
Jun 2013 Results from Round Two Cases / Recommendations for industry users

## Slide 12: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 13: Task 1.2: Cluster Scale
Participants: DTU, CIEMAT, CLS, CENER, ECN, Hexicon
Sub-tasks:
  1.2.1: Identify wake model performance for cluster scale wind farm using mesoscale models
  1.2.2: Uncertainty from wake models on net efficiency
  1.2.3: Recommendations for industry user
Deliverables: D1.4 – Benchmark report on wake models at the cluster scale (M18, DTU)

## Slide 14: Task 1.2: Cluster Scale
Identified Wake Models:
Mesoscale models:
  WRF (DTU, CIEMAT, RES)
  Skiron (CENER)
Mesoscale wake models:
  WRF-wake: WRF+PARK (DTU)
  Farm-farm (ECN)
  RESWFYield: WRF+Ainslie (RES)

## Slide 15: Task 1.2: Cluster Scale
Wake model concepts for the cluster scale
Identify wake model performance for cluster scale wind farm using mesoscale models
Uncertainty from wake models on net efficiency.
Recommendations for industry user.
Benchmark report on wake models at the cluster scale (month18)
Mesoscale wake modelled in WRF using parameterization by Volker (2012) for Hornsrev for a westerly wind find forcing.
From Volker (2012): Left: Normalized velocity deficit for the measurements (in black) and the model (in grey). Right: Measured up-stream velocity (dots) and the logarithmic fit (dotted line), the down-stream measurements (diamonds) and the measurement interpolation (black line) plus the model wake velocity (grey line).

## Slide 16: Task 1.2: Cluster Scale
Timetable
Feb 2012 Identify models
Mar 2012 Make available data for Round one cases
Jun 2012 Deadline: Compile results from Round one Cases
Sep 2012 Results Round One Cases
Nov 2012 Definition & Data Round Two Cases
Mar 2013 Deadline: Round Two Cases
Jun 2013 Results from Round Two Cases/Recommendations for industry users

## Slide 17: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 18: Task 1.3: Coupling Wind Farm – Cluster scale
Participants: CRES, DTU, IU, CIEMAT, UPORTO, ECN, CENER, RES
CRES: Investigate strategies for meso-micro scale interaction
  micro-to-meso : WF/far-wake model
  meso-to-micro : Unsteady boundary conditions
DTU:
  WRF <=> engineering wake model
  WRF => EllipSys unsteady coupling
RES: RES-WFYield (WRF-Ainslie model)
CIEMAT: WRF / ROMS / SWAN coupling
Others?

## Slide 19: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 20: Task 1.4: Other offshore wind farm challenges
Participants: Statoil, Carbon Trust
Marine operation (Access, Operation)
Wind turbine life cycle
  wind/wave resource
  Water depth
  Sea bottom condition
  Electrical grid connection
  Foundation
  Installation
  Operation & Maintenance
  Decommission
Risk assessment

## Slide 21: Outline
Introduction
  The vision
  The plan
The tasks
  T1: Wind farm scale
  T2: Cluster scale
  T3: Coupling Wind farm to Cluster scales
  T4: Other offshore wind farm challenges
WP1 within DTOC
  Interdependencies with other WPs

## Slide 22: Connection with other work-packages
Wake information to be communicated to WP3:
  Wind turbines power production
  Wind farm fatigue
  Uncertainties
  Power quality (sensitivity to WS / WD)
Other information to WP3:
  Cost functions for offshore environment (T1.4)